| Reporting Period: | January to December, 2019 |
| --- | --- |
| Operating Permit Number: | 64000500 |
| Drinking Water System Owner: | Piers Island Improvement District |
| Drinking Water System Contact: Trustee: Charlie Troger Lead Operator: Mary Jordan Admin. Asst.: Maureen Crooks Telephone: 250 213-1459 Telephone: 250 656-6434 Telephone: 250 656-9864 Email: Charlie@piersisland.ca Email: mbj2@telus.net Email: Maureen@piersisland.ca |

- Microbiological testing completed during this reporting period:

  - bacteriological results are available from Lead Operator or Admin. Assistant.

  - adverse bacteriological results:  	  None detected

Listed in table below:

Adverse Results:

| Date | Total coliform | E. Coli | Reason | Corrective Action |
| --- | --- | --- | --- | --- |

- Chemical results for this reporting period:

  - All recent chemical analysis are available from Lead Operator or Admin. Assistant.

b.	chemical parameters listed in The Guidelines for Canadian Drinking Water Quality (“the Guidelines”) are:

all within Guidelines (Quarterly THM's).

above the Guidelines and are listed below:

Parameters above the Guidelines:

| Parameter | Result | Max. Acceptable Concentration | Aesthetic Objective | Treatment/Corrective Action |
| --- | --- | --- | --- | --- |

- Summarize additional testing and sampling carried out in accordance with the requirement of a Water Source approval,

Written Order or as per the conditions of your Operating Permit.

no additional testing

additional testing listed below:

Additional testing:

| Description of parameter & reason for sampling | Health parameter or non-health related parameter | Corrective action necessary (Y/N?) | Corrective action taken |
| --- | --- | --- | --- |
| Annual Metal Scan at storage tank | All constituents tested meet Canadian and British Columbia drinking water standards. | N | None needed |

- Water Quality Complaints:

During the course of the year, the water system:

did not receive water quality complaints (ie taste, odour, colour, etc)

received water quality complaints and are listed below:

Water Quality Complaints:

| Date | Water quality complaint | Corrective action taken |
| --- | --- | --- |

- Adverse results:  Total number of adverse results during this reporting period for insufficient water supply, malfunction of disinfection equipment or elevated turbidity:

No adverse results

Adverse results listed below:

Adverse Results:

| Incident date | Corrective action | Corrected by |
| --- | --- | --- |

- Description of the system:

Sources of raw water:

Groundwater

Surface water

Other (specify): CRD from North Saanich connection

Does the drinking water system have disinfection?      Yes  No

Disinfection methods (check boxes that apply):

Chlorination

Ultraviolet light

Ozonation

Other (specify):

Does the drinking water system have treatment?	Yes	  No

Treatment type (check boxes that apply):

Particulate cartridge filters

Membrane filtration

Carbon filter

Sand filtration

Reverse osmosis

Other (specify):

- Major expenses incurred during the period covered by the report:

To purchase or install required equipment:  < $1000                            .

To repair equipment:  _<$3,000_                    __          ___ ____      .

To replace equipment: _$<3000

To complete annual maintenance of system: (system flushing, replacement of carbon filters, etc) Normal annual servicing costs.                 .

To complete specialist report (specify): 	None                                   .

- Further communication with users:

  - Indicate how you notified system users that your annual report is available, and is free of charge:

hand delivered

public access / notice via web

public access / notice via government office

public access / notice via newspaper

public access / notice via bill stuffer

public access / notice via other method (specify):

AGM & AGM Minutes	, Regular Board of Trustees Meeting Minutes, Improvement District website

  - Improvements or remedial actions required by the Drinking Water Officer:

no action required

Drinking Water Officer inspection report attached to report

actions required by Drinking Water Officer listed below:

Improvements/Remedial Actions:

| Required action | Completion date |
| --- | --- |

  - Future water system improvements:

no improvements planned

improvements listed below:

Future Improvements:

| Future plans | Planned completion date |
| --- | --- |
| Improvement District is initiating project to replace the storage tank. | 3 to 5 years. |

  - Emergency Response Plan can be accessed by:

posting on web

posting at nearest government office

contacting water system owner

Other (specify): _PIID Water Trustee, Admin Assistant_____